**Date: 01/09/2024**

**Goal: Awake recording**

**Mouse: R5**

**Probe: 11DD1**

**Recording time: 10-11am**

Allego froze when try to stream, no track on monitor, have signals on signal metrics

Restart software and XDAQ did not help

Restart computer helped